| DSENY Engineering Services PC | 30-01 39 Avenue Long Island City NY 11101 347.730.6990 inspections@dseny.nyc |
| --- | --- |

Title: PE EQUIPMENT INSPECTION REPORT

| Section 1 Description: DSENY Engineering Services, PC, has been retained to perform an inspection at the above noted school/location of the above noted equipment. |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Client: |  | Keltech |  | Project: |  | G Washington HS |  |  |  |
| Request date: |  | 10/16/2026 | Inspected on: | 10/22/2026 |  | Request by: |  | Tigran Avetisyan |  |
| Product Inspected: |  | Main Building Interior Shoring Field House Interior Shoring |  |  |  |  |  |  |  |
| Permit#: |  |  | Contractor is responsible for ensuring all permits are kept current. |  |  |  |  |  |  |
| Address: |  | 549 Audubon Avenue Mn NY |  |  |  |  |  |  |  |
| PE Drawings on site? |  |  |  | Yes ¦ NA ¦ No |  |  |  |  |  |
| Drawings DOB/SCA approved? |  |  |  | Yes ¦ NA ¦ No |  |  |  |  |  |

| Section 2 | Attendees Names | Company Agency | Title |
| --- | --- | --- | --- |
|  |  |  | Competent Person/Site Supervisor |
|  |  | NYC SCA | Safety Inspector |
|  |  |  | Competent Person/ Equipment Installation Supervisor |
|  |  |  | Competent Person |
|  |  |  | GC’s Project Manager |
|  |  |  | CM’s Representative |
|  |  |  | Owner’s Representative |
|  | Dominic Stiller | DSENY Engineering Services PC | PE |
|  | Kamruz Zaman | DSENY Engineering Services PC | PE |

| Section 3 Shed Specific Location: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LOCATION/S: | ALL LOCATIONS AS PER APPROVED DRAWINGS |  |  |  |  |  |  |  |
| Appx LF SH |  | # of Individual Sections |  | Max Height (ft) ± |  |  | Max Width (ft) ± |  |

Section 4 CERTIFICATE OF COMPLETED INSTALLATION (CCI)

Observations:

- Structural components of the equipment were inspected throughout locations listed above.

- During the inspection, the equipment components were found substantially complete and installed as per codes and industry standards, without open items or with minor deficiencies which were corrected during the inspection.

Conclusion:

- The equipment components are formally complete and able to be occupied by appropriately trained personnel, or are able to serve as code required protection.

- The contractor was reminded that periodic inspections of equipment components such as planks, parapet panels, catchall panels, all attachments, electric

lighting, etc., are required prior to all use and after any & all high winds or storms.

- There was no accumulation of heavy debris on scaffold or sheds.

- See provided drawings for standard and project-specific notes.

A visual inspection confirms that required standard components (i.e.: rails, planks, posts, beams, parapets, frames, braces, pins, etc.) are installed, as required by standard DOB designs. This inspection does not confirm pullout strength of anchors, or tightness of any bolts or nails or fasteners or quality of welds &/or metal components, nor specific unseen conditions of all products. This inspection does not analyze or review any site-specific frame or leg load capacities; load capacity and product specification review is provided by design engineer. This inspection relates to site conditions at time of inspection; it does not guarantee that any modifications of equipment by workers, or weather, or time, etc, may render different safety conditions at site. Ensure that competent field personnel inspect equipment before all work shifts.

DSENY adheres to IAS AC291 requirements for impartiality (§ 4.17.7, 4.17.9) and training/peer review (§ 4.21).  Field reports noting such certification are available for review.